## Project Assumptions
Project Assumptions
Project figures
Number of turbines | 8
Wind farm capacity (MW) | 25.84
Project lifetime (years) | 25
Currency | €
Energy rate (€/MWh) | 80
Sale of wind farm | 1000000
Production figures
Net energy yield P50 (MWh/year) | 87545.4814
Uncertainty | 10%
Percentile | 75
Net energy yield P75 (MWh/year) | 81640.6284

## Project Costs
| 34245000 | 1325270.8978 | 8.03%
Project Costs
Wind turbines
Wind turbines exworks cost | 17000000
SCADA System | 150000
Lightning protection system | 80000
Aviation lights | 40000
Spare parts | 175000
Step-up transformer | 600000
Protection cells and others | 100000
Transportation
Transportation to local port | 0
Maritime transportation | 0
Transportation to site | 300000
Wind turbines installation
Crane rental | 250000
Mounting costs and tooling | 250000
Commissioning works | 400000
Wind farm mast
Wind farm mast | 100000
Civil works and infrastructure
Foundations | 1750000
Earthworks | 10000
Access and internal roads | 750000
Platforms | 500000
Wind farm control building | 100000
Electric works and infrastructure
Interconnection cabling | 500000
Grounding system | 60000
Substation | 3000000
Installation and comissioning | 350000
Transmission line | 500000
Optic fiber | 40000
Development and enegineering
Project development | 400000
Licenses, permits and taxes | 50000
Basic and detailed engineering | 300000
Project management | 200000
Power curve measurements | 40000
Other costs
General expenses | 100000
Legal costs | 250000
Audit costs | 50000
Financial costs | 850000
Contingencies | 2500000
Wind farm dismantling | 2500000
Working capital
Initial working capital | 0

## O&M Costs
O&M Costs
Annual O&M costs
Operation and maintenance | 2750000
Non-routine maintenance | 0
Warranty extension | 0
which starts at year | 5
BoP Expenses | 0
Insurance | 0
General administration | 0
Management fees | 0
Security services | 0
Environmental vigilance | 0
Electricity usage | 0
Forecasting service | 0
Mast maintenance | 0
Local taxes | 0
Additional expenses | 0
Land payments | 0

## Economic Assumptions
Economic Assumptions
Financial assumptions
Total project cost | 31820000
Leverage | 80%
Provisions ratio | 5%
Equity | 6364000
Total loans | 26728800
Maturity of loan (years) | 10
Grace period (years) | 1
Interest | 1%
Spread | 3%
Price index / Escalation rate | 2%
Average annual depreciation | 8%
Corporate taxes | 35%
Target debt-service coverage ratio (-) | 1.3
Dividend payout | 90%
Legal reserve | 10%
Maximum cumulative legal reserve to equity | 20%
Debt reserve account | 60%
Carbon emissions
EEX CO2 sales (€/ton) | 1
Carbon emission factor (ton/MWh) | 0.58
Working capital assumptions
Days of receivables (days) | 30
Days of inventory (days) | 30
Days of accounts payables (days) | 30

## Operational Cashflow
Operational Cashflow
Year | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26
Escalation rate | 1 | 1 | 1.02 | 1.02 | 1.02 | 1.02 | 1.02 | 1.02 | 1.02 | 1.02 | 1.02 | 1.02 | 1.02 | 1.02 | 1.02 | 1.02 | 1.02 | 1.02 | 1.02 | 1.02 | 1.02 | 1.02 | 1.02 | 1.02 | 1.02 | 1.02 | 0
Inflows
P75 Production (MWh) | 0 | 81640.6284 | 81640.6284 | 81640.6284 | 81640.6284 | 81640.6284 | 81640.6284 | 81640.6284 | 81640.6284 | 81640.6284 | 81640.6284 | 81640.6284 | 81640.6284 | 81640.6284 | 81640.6284 | 81640.6284 | 81640.6284 | 81640.6284 | 81640.6284 | 81640.6284 | 81640.6284 | 81640.6284 | 81640.6284 | 81640.6284 | 81640.6284 | 81640.6284 | 0
Energy Rate (Currency per MWh) | 80 | 80 | 81.6 | 83.232 | 84.8966 | 86.5946 | 88.3265 | 90.093 | 91.8949 | 93.7328 | 95.6074 | 97.5196 | 99.4699 | 101.4593 | 103.4885 | 105.5583 | 107.6695 | 109.8229 | 112.0193 | 114.2597 | 116.5449 | 118.8758 | 121.2533 | 123.6784 | 126.1519 | 128.675 | 0
Energy Sales | 0 | 6531250.272 | 6661875.2774 | 6795112.783 | 6931015.0386 | 7069635.3394 | 7211028.0462 | 7355248.6071 | 7502353.5793 | 7652400.6509 | 7805448.6639 | 7961557.6372 | 8120788.7899 | 8283204.5657 | 8448868.657 | 8617846.0302 | 8790202.9508 | 8966007.0098 | 9145327.15 | 9328233.693 | 9514798.3668 | 9705094.3342 | 9899196.2208 | 10097180.1453 | 10299123.7482 | 10505106.2231 | 0
CO2 savings | 0 | 47351.5645 | 48298.5958 | 49264.5677 | 50249.859 | 51254.8562 | 52279.9533 | 53325.5524 | 54392.0634 | 55479.9047 | 56589.5028 | 57721.2929 | 58875.7187 | 60053.2331 | 61254.2978 | 62479.3837 | 63728.9714 | 65003.5508 | 66303.6218 | 67629.6943 | 68982.2882 | 70361.9339 | 71769.1726 | 73204.5561 | 74668.6472 | 76162.0201 | 0
Others (sale of windfarm) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1000000
Total Inflows | 0 | 6578601.8365 | 6710173.8732 | 6844377.3507 | 6981264.8977 | 7120890.1956 | 7263307.9995 | 7408574.1595 | 7556745.6427 | 7707880.5556 | 7862038.1667 | 8019278.93 | 8179664.5086 | 8343257.7988 | 8510122.9548 | 8680325.4139 | 8853931.9221 | 9031010.5606 | 9211630.7718 | 9395863.3872 | 9583780.655 | 9775456.2681 | 9970965.3934 | 10170384.7013 | 10373792.3953 | 10581268.2432 | 1000000
Outflows
Operation and Maintenance | 0 | 2750000 | 2805000 | 2861100 | 2918322 | 2976688.44 | 3036222.2088 | 3096946.653 | 3158885.586 | 3222063.2978 | 3286504.5637 | 3352234.655 | 3419279.3481 | 3487664.935 | 3557418.2337 | 3628566.5984 | 3701137.9304 | 3775160.689 | 3850663.9028 | 3927677.1808 | 4006230.7245 | 4086355.3389 | 4168082.4457 | 4251444.0946 | 4336472.9765 | 4423202.4361 | 0
Non-Routine Maintenance | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Warranty extension for WTG | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
BoP Expenses | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Insurance | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
General Administration | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Management fees | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Security services | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Environmental vigilance | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Electricity Usage | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Forecasting service | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Mast maintenance | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Local Taxes | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Additional expenses | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Land payments | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Wind farm dismantling | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2500000
Total outflows | 0 | 2750000 | 2805000 | 2861100 | 2918322 | 2976688.44 | 3036222.2088 | 3096946.653 | 3158885.586 | 3222063.2978 | 3286504.5637 | 3352234.655 | 3419279.3481 | 3487664.935 | 3557418.2337 | 3628566.5984 | 3701137.9304 | 3775160.689 | 3850663.9028 | 3927677.1808 | 4006230.7245 | 4086355.3389 | 4168082.4457 | 4251444.0946 | 4336472.9765 | 4423202.4361 | 2500000
Net operating cash | 0 | 3828601.8365 | 3905173.8732 | 3983277.3507 | 4062942.8977 | 4144201.7556 | 4227085.7907 | 4311627.5066 | 4397860.0567 | 4485817.2578 | 4575533.603 | 4667044.275 | 4760385.1605 | 4855592.8638 | 4952704.721 | 5051758.8154 | 5152793.9918 | 5255849.8716 | 5360966.869 | 5468186.2064 | 5577549.9305 | 5689100.9291 | 5802882.9477 | 5918940.6067 | 6037319.4188 | 6158065.8072 | -1500000

## Debt Flow
Debt Flow
Year | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26
Working Capital Lines
Begin Balance Debt | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Debt Interest | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Debt Repayment (Principal) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
End Balance Debt | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Long Term Debt
Begin Balance Debt | 26728800 | 26728800 | 26728800 | 23758933.3333 | 20789066.6667 | 17819200 | 14849333.3333 | 11879466.6667 | 8909600 | 5939733.3333 | 2969866.6667 | -9.3132e-10 | -9.3132e-10 | -9.3132e-10 | -9.3132e-10 | -9.3132e-10 | -9.3132e-10 | -9.3132e-10 | -9.3132e-10 | -9.3132e-10 | -9.3132e-10 | -9.3132e-10 | -9.3132e-10 | -9.3132e-10 | -9.3132e-10 | -9.3132e-10 | -9.3132e-10
Debt Interest | 0 | 1069152 | 1069152 | 950357.3333 | 831562.6667 | 712768 | 593973.3333 | 475178.6667 | 356384 | 237589.3333 | 118794.6667 | -3.7253e-11 | -3.7253e-11 | -3.7253e-11 | -3.7253e-11 | -3.7253e-11 | -3.7253e-11 | -3.7253e-11 | -3.7253e-11 | -3.7253e-11 | -3.7253e-11 | -3.7253e-11 | -3.7253e-11 | -3.7253e-11 | -3.7253e-11 | -3.7253e-11 | 0
Debt Repayment (Principal) | 0 | 0 | 2969866.6667 | 2969866.6667 | 2969866.6667 | 2969866.6667 | 2969866.6667 | 2969866.6667 | 2969866.6667 | 2969866.6667 | 2969866.6667 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
End Balance Debt | 26728800 | 26728800 | 23758933.3333 | 20789066.6667 | 17819200 | 14849333.3333 | 11879466.6667 | 8909600 | 5939733.3333 | 2969866.6667 | -9.3132e-10 | -9.3132e-10 | -9.3132e-10 | -9.3132e-10 | -9.3132e-10 | -9.3132e-10 | -9.3132e-10 | -9.3132e-10 | -9.3132e-10 | -9.3132e-10 | -9.3132e-10 | -9.3132e-10 | -9.3132e-10 | -9.3132e-10 | -9.3132e-10 | -9.3132e-10 | -9.3132e-10
DSCRatio
Begin balance DSCR | 0 | 0 | 2369922.7907 | 2352134.4 | 2280857.6 | 2209580.8 | 2138304 | 2067027.2 | 1995750.4 | 1924473.6 | 1853196.8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Cumulative DSCR | 0 | 2369922.7907 | 2352134.4 | 2280857.6 | 2209580.8 | 2138304 | 2067027.2 | 1995750.4 | 1924473.6 | 1853196.8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Increase / ( Decrease ) | 0 | -2369922.7907 | 17788.3907 | 71276.8 | 71276.8 | 71276.8 | 71276.8 | 71276.8 | 71276.8 | 71276.8 | 1853196.8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Debt reserve account | 641491.2 | 2423411.2 | 2352134.4 | 2280857.6 | 2209580.8 | 2138304 | 2067027.2 | 1995750.4 | 1924473.6 | 1853196.8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Available Cash (CHECK) | 1272800 | 2369922.7907 | -241786.0411 | -113928.1193 | 14942.6303 | 144846.4643 | 275804.0442 | 407836.4451 | 540965.1633 | 675212.1253 | 810599.6958 | 3917017.3537 | 3977538.5007 | 3593790.0708 | 3211276.2722 | 3275501.7976 | 3341011.8336 | 3407832.0702 | 3475988.7117 | 3545508.4859 | 3616418.6556 | 3688747.0287 | 3762521.9693 | 3837772.4087 | 3914527.8568 | 3992818.414 | -870569.9337

## Fixed Asset Depreciation
Fixed Asset Depreciation
Year | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26
Depreciation | 0 | -2545600 | -2545600 | -2545600 | -2545600 | -2545600 | -2545600 | -2545600 | -2545600 | -2545600 | -2545600 | -2545600 | -2545600 | -1272800 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Cumulative Depreciation | 0 | 2545600 | 5091200 | 7636800 | 10182400 | 12728000 | 15273600 | 17819200 | 20364800 | 22910400 | 25456000 | 28001600 | 30547200 | 31820000 | 31820000 | 31820000 | 31820000 | 31820000 | 31820000 | 31820000 | 31820000 | 31820000 | 31820000 | 31820000 | 31820000 | 31820000 | 31820000

## Tax Shield
Tax Shield
Year | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26
EBT | 1272800 | 213849.8365 | 290421.8732 | 487320.0173 | 685780.231 | 885833.7556 | 1087512.4574 | 1290848.8399 | 1495876.0567 | 1702627.9245 | 1911138.9363 | 2121444.275 | 2214785.1605 | 3582792.8638 | 4952704.721 | 5051758.8154 | 5152793.9918 | 5255849.8716 | 5360966.869 | 5468186.2064 | 5577549.9305 | 5689100.9291 | 5802882.9477 | 5918940.6067 | 6037319.4188 | 6158065.8072 | -1500000
Deductible losses | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Losses neutralization | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Tax Shield | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Remaining loss | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Cumulative losses | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1500000
Taxes | 0 | -74847.4428 | -101647.6556 | -170562.0061 | -240023.0809 | -310041.8145 | -380629.3601 | -451797.094 | -523556.6198 | -595919.7736 | -668898.6277 | -742505.4963 | -775174.8062 | -1253977.5023 | -1733446.6524 | -1768115.5854 | -1803477.8971 | -1839547.4551 | -1876338.4042 | -1913865.1722 | -1952142.4757 | -1991185.3252 | -2031009.0317 | -2071629.2123 | -2113061.7966 | -2155323.0325 | 0

## Income Statement
Income Statement
Year | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26
Incomes
Energy Sales + CO2 savings | 0 | 6578601.8365 | 6710173.8732 | 6844377.3507 | 6981264.8977 | 7120890.1956 | 7263307.9995 | 7408574.1595 | 7556745.6427 | 7707880.5556 | 7862038.1667 | 8019278.93 | 8179664.5086 | 8343257.7988 | 8510122.9548 | 8680325.4139 | 8853931.9221 | 9031010.5606 | 9211630.7718 | 9395863.3872 | 9583780.655 | 9775456.2681 | 9970965.3934 | 10170384.7013 | 10373792.3953 | 10581268.2432 | 0
Other incomes (sale of wind farm+subventions+reinvestments) | 33092800 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1000000
Gross Income | 33092800 | 6578601.8365 | 6710173.8732 | 6844377.3507 | 6981264.8977 | 7120890.1956 | 7263307.9995 | 7408574.1595 | 7556745.6427 | 7707880.5556 | 7862038.1667 | 8019278.93 | 8179664.5086 | 8343257.7988 | 8510122.9548 | 8680325.4139 | 8853931.9221 | 9031010.5606 | 9211630.7718 | 9395863.3872 | 9583780.655 | 9775456.2681 | 9970965.3934 | 10170384.7013 | 10373792.3953 | 10581268.2432 | 1000000
Costs of Goods Sold | 31820000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Gross Margin | 1272800 | 6578601.8365 | 6710173.8732 | 6844377.3507 | 6981264.8977 | 7120890.1956 | 7263307.9995 | 7408574.1595 | 7556745.6427 | 7707880.5556 | 7862038.1667 | 8019278.93 | 8179664.5086 | 8343257.7988 | 8510122.9548 | 8680325.4139 | 8853931.9221 | 9031010.5606 | 9211630.7718 | 9395863.3872 | 9583780.655 | 9775456.2681 | 9970965.3934 | 10170384.7013 | 10373792.3953 | 10581268.2432 | 1000000
Operating Costs
Operation and Maintenance | 0 | 2750000 | 2805000 | 2861100 | 2918322 | 2976688.44 | 3036222.2088 | 3096946.653 | 3158885.586 | 3222063.2978 | 3286504.5637 | 3352234.655 | 3419279.3481 | 3487664.935 | 3557418.2337 | 3628566.5984 | 3701137.9304 | 3775160.689 | 3850663.9028 | 3927677.1808 | 4006230.7245 | 4086355.3389 | 4168082.4457 | 4251444.0946 | 4336472.9765 | 4423202.4361 | 0
Non-Routine Maintenance | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Warranty extension for WTG | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
BoP Expenses | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Insurance | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
General Administration | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Management fees | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Security services | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Environmental vigilance | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Electricity Usage | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Forecasting service | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Mast maintenance | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Local Taxes | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Additional expenses | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Land payments | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Wind farm dismantling | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2500000
Sub Total Operating Marging | 0 | 2750000 | 2805000 | 2861100 | 2918322 | 2976688.44 | 3036222.2088 | 3096946.653 | 3158885.586 | 3222063.2978 | 3286504.5637 | 3352234.655 | 3419279.3481 | 3487664.935 | 3557418.2337 | 3628566.5984 | 3701137.9304 | 3775160.689 | 3850663.9028 | 3927677.1808 | 4006230.7245 | 4086355.3389 | 4168082.4457 | 4251444.0946 | 4336472.9765 | 4423202.4361 | 2500000
EBITDA | 1272800 | 3828601.8365 | 3905173.8732 | 3983277.3507 | 4062942.8977 | 4144201.7556 | 4227085.7907 | 4311627.5066 | 4397860.0567 | 4485817.2578 | 4575533.603 | 4667044.275 | 4760385.1605 | 4855592.8638 | 4952704.721 | 5051758.8154 | 5152793.9918 | 5255849.8716 | 5360966.869 | 5468186.2064 | 5577549.9305 | 5689100.9291 | 5802882.9477 | 5918940.6067 | 6037319.4188 | 6158065.8072 | -1500000
Depreciation | 0 | -2545600 | -2545600 | -2545600 | -2545600 | -2545600 | -2545600 | -2545600 | -2545600 | -2545600 | -2545600 | -2545600 | -2545600 | -1272800 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
EBIT | 1272800 | 1283001.8365 | 1359573.8732 | 1437677.3507 | 1517342.8977 | 1598601.7556 | 1681485.7907 | 1766027.5066 | 1852260.0567 | 1940217.2578 | 2029933.603 | 2121444.275 | 2214785.1605 | 3582792.8638 | 4952704.721 | 5051758.8154 | 5152793.9918 | 5255849.8716 | 5360966.869 | 5468186.2064 | 5577549.9305 | 5689100.9291 | 5802882.9477 | 5918940.6067 | 6037319.4188 | 6158065.8072 | -1500000
Interest Expense
Interest on WC Lines | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Interest on Long Term Debt | 0 | 1069152 | 1069152 | 950357.3333 | 831562.6667 | 712768 | 593973.3333 | 475178.6667 | 356384 | 237589.3333 | 118794.6667 | -3.7253e-11 | -3.7253e-11 | -3.7253e-11 | -3.7253e-11 | -3.7253e-11 | -3.7253e-11 | -3.7253e-11 | -3.7253e-11 | -3.7253e-11 | -3.7253e-11 | -3.7253e-11 | -3.7253e-11 | -3.7253e-11 | -3.7253e-11 | -3.7253e-11 | 0
Total Interest Expense | 0 | -1069152 | -1069152 | -950357.3333 | -831562.6667 | -712768 | -593973.3333 | -475178.6667 | -356384 | -237589.3333 | -118794.6667 | 3.7253e-11 | 3.7253e-11 | 3.7253e-11 | 3.7253e-11 | 3.7253e-11 | 3.7253e-11 | 3.7253e-11 | 3.7253e-11 | 3.7253e-11 | 3.7253e-11 | 3.7253e-11 | 3.7253e-11 | 3.7253e-11 | 3.7253e-11 | 3.7253e-11 | 0
EBT | 1272800 | 213849.8365 | 290421.8732 | 487320.0173 | 685780.231 | 885833.7556 | 1087512.4574 | 1290848.8399 | 1495876.0567 | 1702627.9245 | 1911138.9363 | 2121444.275 | 2214785.1605 | 3582792.8638 | 4952704.721 | 5051758.8154 | 5152793.9918 | 5255849.8716 | 5360966.869 | 5468186.2064 | 5577549.9305 | 5689100.9291 | 5802882.9477 | 5918940.6067 | 6037319.4188 | 6158065.8072 | -1500000
Taxes | 0 | -74847.4428 | -101647.6556 | -170562.0061 | -240023.0809 | -310041.8145 | -380629.3601 | -451797.094 | -523556.6198 | -595919.7736 | -668898.6277 | -742505.4963 | -775174.8062 | -1253977.5023 | -1733446.6524 | -1768115.5854 | -1803477.8971 | -1839547.4551 | -1876338.4042 | -1913865.1722 | -1952142.4757 | -1991185.3252 | -2031009.0317 | -2071629.2123 | -2113061.7966 | -2155323.0325 | 0
Net Income / (Loss) | 1272800 | 139002.3937 | 188774.2176 | 316758.0113 | 445757.1502 | 575791.9412 | 706883.0973 | 839051.7459 | 972319.4368 | 1106708.1509 | 1242240.3086 | 1378938.7788 | 1439610.3544 | 2328815.3614 | 3219258.0687 | 3283643.23 | 3349316.0946 | 3416302.4165 | 3484628.4649 | 3554321.0342 | 3625407.4548 | 3697915.6039 | 3771873.916 | 3847311.3943 | 3924257.6222 | 4002742.7747 | -1500000

## Net Worth Reconciliation
Net Worth Reconciliation
Year | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26
Common Equity Beginning of the Year | 6364000 | 6364000 | 6364000 | 6364000 | 6364000 | 6364000 | 6364000 | 6364000 | 6364000 | 6364000 | 6364000 | 6364000 | 6364000 | 6364000 | 6364000 | 6364000 | 6364000 | 6364000 | 6364000 | 6364000 | 6364000 | 6364000 | 6364000 | 6364000 | 6364000 | 6364000 | 6364000
Net Income | 0 | 139002.3937 | 188774.2176 | 316758.0113 | 445757.1502 | 575791.9412 | 706883.0973 | 839051.7459 | 972319.4368 | 1106708.1509 | 1242240.3086 | 1378938.7788 | 1439610.3544 | 2328815.3614 | 3219258.0687 | 3283643.23 | 3349316.0946 | 3416302.4165 | 3484628.4649 | 3554321.0342 | 3625407.4548 | 3697915.6039 | 3771873.916 | 3847311.3943 | 3924257.6222 | 4002742.7747 | -1500000
Legal Reserve | 0 | 13900.2394 | 18877.4218 | 31675.8011 | 44575.715 | 57579.1941 | 70688.3097 | 83905.1746 | 97231.9437 | 110670.8151 | 124224.0309 | 137893.8779 | 143961.0354 | 232881.5361 | 104734.9052 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Cumulative Legal reserve | 0 | 13900.2394 | 32777.6611 | 64453.4623 | 109029.1773 | 166608.3714 | 237296.6811 | 321201.8557 | 418433.7994 | 529104.6145 | 653328.6453 | 791222.5232 | 935183.5587 | 1168065.0948 | 1272800 | 1272800 | 1272800 | 1272800 | 1272800 | 1272800 | 1272800 | 1272800 | 1272800 | 1272800 | 1272800 | 1272800 | 0
Retained Earnings (at the beginning of the period) | 0 | 0 | 125102.1543 | 294998.9502 | 410184.3645 | 526283.5895 | 643314.9014 | 761296.9419 | 880248.7257 | 1000189.6475 | 1121139.4902 | 1243118.4321 | 1366147.0552 | 1420751.4733 | 2221035.9796 | 3239625.3178 | 3625936.2861 | 4019973.4737 | 4421891.405 | 4831847.695 | 5250003.1108 | 5676521.6349 | 6111570.5295 | 6555320.4019 | 7007945.2719 | 7469622.6392 | 7940533.5538
Dividends | 0 | 0 | 0 | -169896.7958 | -285082.2101 | -401181.4351 | -518212.747 | -636194.7876 | -755146.5713 | -875087.4932 | -996037.3358 | -1118016.2777 | -1241044.9009 | -1295649.3189 | -2095933.8253 | -2897332.2618 | -2955278.907 | -3014384.4852 | -3074672.1749 | -3136165.6184 | -3198888.9307 | -3262866.7094 | -3328124.0435 | -3394686.5244 | -3462580.2549 | -3531831.86 | -7713333.5538
Pending Dividends | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Cumulative Dividends | 0 | 0 | 0 | -169896.7958 | -454979.006 | -856160.4411 | -1374373.1881 | -2010567.9757 | -2765714.5471 | -3640802.0402 | -4636839.3761 | -5754855.6538 | -6995900.5547 | -8291549.8736 | -10387483.6989 | -13284815.9607 | -16240094.8678 | -19254479.3529 | -22329151.5278 | -25465317.1462 | -28664206.0769 | -31927072.7863 | -35255196.8299 | -38649883.3543 | -42112463.6092 | -45644295.4692 | -53357629.023
Retained Earnings (at the end of the period after distributions) | 0 | 125102.1543 | 294998.9502 | 410184.3645 | 526283.5895 | 643314.9014 | 761296.9419 | 880248.7257 | 1000189.6475 | 1121139.4902 | 1243118.4321 | 1366147.0552 | 1420751.4733 | 2221035.9796 | 3239625.3178 | 3625936.2861 | 4019973.4737 | 4421891.405 | 4831847.695 | 5250003.1108 | 5676521.6349 | 6111570.5295 | 6555320.4019 | 7007945.2719 | 7469622.6392 | 7940533.5538 | 0
Common Equity at the End of the Year | 6364000 | 6503002.3937 | 6691776.6113 | 6838637.8267 | 6999312.7667 | 7173923.2728 | 7362593.623 | 7565450.5814 | 7782623.4469 | 8014244.1047 | 8260447.0774 | 8521369.5785 | 8719935.0319 | 9753101.0744 | 10876425.3178 | 11262736.2861 | 11656773.4737 | 12058691.405 | 12468647.695 | 12886803.1108 | 13313321.6349 | 13748370.5295 | 14192120.4019 | 14644745.2719 | 15106422.6392 | 15577333.5538 | 6364000

## Balance Sheet
Balance Sheet
Year | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26
Assets
Cash and Marketable Securities | 1272800 | 1272800 | 1048802.3496 | 836254.2344 | 637391.4546 | 452333.2837 | 281201.3809 | 124119.8384 | 0 | 0 | 1520375.8224 | 4319376.8983 | 7055870.4982 | 9354011.25 | 10469353.6969 | 10847523.2327 | 11233256.1593 | 11626703.7443 | 12028020.2811 | 12437363.1486 | 12854892.8735 | 13280773.1928 | 13715171.1186 | 14158257.0028 | 14610204.6048 | 15071191.1587 | 6487287.6712
Other Sources of Cash | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DSCRatio | 0 | 2369922.7907 | 2352134.4 | 2280857.6 | 2209580.8 | 2138304 | 2067027.2 | 1995750.4 | 1924473.6 | 1853196.8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Accounts Receivable | 0 | 540707.0003 | 551521.1403 | 562551.5631 | 573802.5943 | 585278.6462 | 596984.2191 | 608923.9035 | 621102.3816 | 633524.4292 | 646194.9178 | 659118.8162 | 672301.1925 | 685747.2163 | 699462.1607 | 713451.4039 | 727720.432 | 742274.8406 | 757120.3374 | 772262.7442 | 787707.999 | 803462.159 | 819531.4022 | 835922.0302 | 852640.4708 | 869693.2803 | 82191.7808
Inventories | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total Current Assets | 1272800 | 4183429.791 | 3952457.8898 | 3679663.3975 | 3420774.8489 | 3175915.9299 | 2945212.8 | 2728794.1419 | 2545575.9816 | 2486721.2292 | 2166570.7402 | 4978495.7145 | 7728171.6907 | 10039758.4664 | 11168815.8576 | 11560974.6366 | 11960976.5912 | 12368978.5849 | 12785140.6185 | 13209625.8928 | 13642600.8725 | 14084235.3518 | 14534702.5208 | 14994179.0331 | 15462845.0756 | 15940884.439 | 6569479.4521
Gross Fixed Assets | 31820000 | 31820000 | 29274400 | 26728800 | 24183200 | 21637600 | 19092000 | 16546400 | 14000800 | 11455200 | 8909600 | 6364000 | 3818400 | 1272800 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Depreciation and Amortization | 0 | -2545600 | -2545600 | -2545600 | -2545600 | -2545600 | -2545600 | -2545600 | -2545600 | -2545600 | -2545600 | -2545600 | -2545600 | -1272800 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Net Fixed Assets | 31820000 | 29274400 | 26728800 | 24183200 | 21637600 | 19092000 | 16546400 | 14000800 | 11455200 | 8909600 | 6364000 | 3818400 | 1272800 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Other Assets | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total Fixed Assets | 31820000 | 29274400 | 26728800 | 24183200 | 21637600 | 19092000 | 16546400 | 14000800 | 11455200 | 8909600 | 6364000 | 3818400 | 1272800 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total Assets | 33092800 | 33457829.791 | 30681257.8898 | 27862863.3975 | 25058374.8489 | 22267915.9299 | 19491612.8 | 16729594.1419 | 14000775.9816 | 11396321.2292 | 8530570.7402 | 8796895.7145 | 9000971.6907 | 10039758.4664 | 11168815.8576 | 11560974.6366 | 11960976.5912 | 12368978.5849 | 12785140.6185 | 13209625.8928 | 13642600.8725 | 14084235.3518 | 14534702.5208 | 14994179.0331 | 15462845.0756 | 15940884.439 | 6569479.4521
Liabilities and Equity
Bank Facility | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 18784.7696 | 147383.3375 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Accounts Payable | 0 | 226027.3973 | 230547.9452 | 235158.9041 | 239862.0822 | 244659.3238 | 249552.5103 | 254543.5605 | 259634.4317 | 264827.1204 | 270123.6628 | 275526.136 | 281036.6587 | 286657.3919 | 292390.5398 | 298238.3506 | 304203.1176 | 310287.1799 | 316492.9235 | 322822.782 | 329279.2376 | 335864.8224 | 342582.1188 | 349433.7612 | 356422.4364 | 363550.8852 | 205479.4521
Investment/Divestitures | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total Current Liabilities | 0 | 226027.3973 | 230547.9452 | 235158.9041 | 239862.0822 | 244659.3238 | 249552.5103 | 254543.5605 | 278419.2014 | 412210.4579 | 270123.6628 | 275526.136 | 281036.6587 | 286657.3919 | 292390.5398 | 298238.3506 | 304203.1176 | 310287.1799 | 316492.9235 | 322822.782 | 329279.2376 | 335864.8224 | 342582.1188 | 349433.7612 | 356422.4364 | 363550.8852 | 205479.4521
Short Term Debt | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Other Short Term Debt | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total Short Term Debt | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Long Term Debt | 26728800 | 26728800 | 23758933.3333 | 20789066.6667 | 17819200 | 14849333.3333 | 11879466.6667 | 8909600 | 5939733.3333 | 2969866.6667 | -9.3132e-10 | -9.3132e-10 | -9.3132e-10 | -9.3132e-10 | -9.3132e-10 | -9.3132e-10 | -9.3132e-10 | -9.3132e-10 | -9.3132e-10 | -9.3132e-10 | -9.3132e-10 | -9.3132e-10 | -9.3132e-10 | -9.3132e-10 | -9.3132e-10 | -9.3132e-10 | -9.3132e-10
Other Long Term Debt | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total Long Term Debt | 26728800 | 26728800 | 23758933.3333 | 20789066.6667 | 17819200 | 14849333.3333 | 11879466.6667 | 8909600 | 5939733.3333 | 2969866.6667 | -9.3132e-10 | -9.3132e-10 | -9.3132e-10 | -9.3132e-10 | -9.3132e-10 | -9.3132e-10 | -9.3132e-10 | -9.3132e-10 | -9.3132e-10 | -9.3132e-10 | -9.3132e-10 | -9.3132e-10 | -9.3132e-10 | -9.3132e-10 | -9.3132e-10 | -9.3132e-10 | -9.3132e-10
Total Liabilities | 26728800 | 26954827.3973 | 23989481.2785 | 21024225.5708 | 18059062.0822 | 15093992.6572 | 12129019.177 | 9164143.5605 | 6218152.5347 | 3382077.1246 | 270123.6628 | 275526.136 | 281036.6587 | 286657.3919 | 292390.5398 | 298238.3506 | 304203.1176 | 310287.1799 | 316492.9235 | 322822.782 | 329279.2376 | 335864.8224 | 342582.1188 | 349433.7612 | 356422.4364 | 363550.8852 | 205479.4521
Equity
Common Equity | 6364000 | 6364000 | 6364000 | 6364000 | 6364000 | 6364000 | 6364000 | 6364000 | 6364000 | 6364000 | 6364000 | 6364000 | 6364000 | 6364000 | 6364000 | 6364000 | 6364000 | 6364000 | 6364000 | 6364000 | 6364000 | 6364000 | 6364000 | 6364000 | 6364000 | 6364000 | 6364000
Cumulative Legal Reserve | 0 | 13900.2394 | 32777.6611 | 64453.4623 | 109029.1773 | 166608.3714 | 237296.6811 | 321201.8557 | 418433.7994 | 529104.6145 | 653328.6453 | 791222.5232 | 935183.5587 | 1168065.0948 | 1272800 | 1272800 | 1272800 | 1272800 | 1272800 | 1272800 | 1272800 | 1272800 | 1272800 | 1272800 | 1272800 | 1272800 | 0
Retained Earnings at the end of the period | 0 | 125102.1543 | 294998.9502 | 410184.3645 | 526283.5895 | 643314.9014 | 761296.9419 | 880248.7257 | 1000189.6475 | 1121139.4902 | 1243118.4321 | 1366147.0552 | 1420751.4733 | 2221035.9796 | 3239625.3178 | 3625936.2861 | 4019973.4737 | 4421891.405 | 4831847.695 | 5250003.1108 | 5676521.6349 | 6111570.5295 | 6555320.4019 | 7007945.2719 | 7469622.6392 | 7940533.5538 | 0
Total Equity | 6364000 | 6503002.3937 | 6691776.6113 | 6838637.8267 | 6999312.7667 | 7173923.2728 | 7362593.623 | 7565450.5814 | 7782623.4469 | 8014244.1047 | 8260447.0774 | 8521369.5785 | 8719935.0319 | 9753101.0744 | 10876425.3178 | 11262736.2861 | 11656773.4737 | 12058691.405 | 12468647.695 | 12886803.1108 | 13313321.6349 | 13748370.5295 | 14192120.4019 | 14644745.2719 | 15106422.6392 | 15577333.5538 | 6364000
Total Liabilities and Equity | 33092800 | 33457829.791 | 30681257.8898 | 27862863.3975 | 25058374.8489 | 22267915.9299 | 19491612.8 | 16729594.1419 | 14000775.9816 | 11396321.2292 | 8530570.7402 | 8796895.7145 | 9000971.6907 | 10039758.4664 | 11168815.8576 | 11560974.6366 | 11960976.5912 | 12368978.5849 | 12785140.6185 | 13209625.8928 | 13642600.8725 | 14084235.3518 | 14534702.5208 | 14994179.0331 | 15462845.0756 | 15940884.439 | 6569479.4521

## Free Cash Flow
Free Cash Flow
Year | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26
EBITDA | 1272800 | 3828601.8365 | 3905173.8732 | 3983277.3507 | 4062942.8977 | 4144201.7556 | 4227085.7907 | 4311627.5066 | 4397860.0567 | 4485817.2578 | 4575533.603 | 4667044.275 | 4760385.1605 | 4855592.8638 | 4952704.721 | 5051758.8154 | 5152793.9918 | 5255849.8716 | 5360966.869 | 5468186.2064 | 5577549.9305 | 5689100.9291 | 5802882.9477 | 5918940.6067 | 6037319.4188 | 6158065.8072 | -1500000
Taxes | 0 | -74847.4428 | -101647.6556 | -170562.0061 | -240023.0809 | -310041.8145 | -380629.3601 | -451797.094 | -523556.6198 | -595919.7736 | -668898.6277 | -742505.4963 | -775174.8062 | -1253977.5023 | -1733446.6524 | -1768115.5854 | -1803477.8971 | -1839547.4551 | -1876338.4042 | -1913865.1722 | -1952142.4757 | -1991185.3252 | -2031009.0317 | -2071629.2123 | -2113061.7966 | -2155323.0325 | 0
Gross Cash Flow | 1272800 | 3753754.3937 | 3803526.2176 | 3812715.3446 | 3822919.8168 | 3834159.9412 | 3846456.4307 | 3859830.4126 | 3874303.4368 | 3889897.4843 | 3906634.9753 | 3924538.7788 | 3985210.3544 | 3601615.3614 | 3219258.0687 | 3283643.23 | 3349316.0946 | 3416302.4165 | 3484628.4649 | 3554321.0342 | 3625407.4548 | 3697915.6039 | 3771873.916 | 3847311.3943 | 3924257.6222 | 4002742.7747 | -1500000
Working Capital
Accounts receivables | 0 | 540707.0003 | 551521.1403 | 562551.5631 | 573802.5943 | 585278.6462 | 596984.2191 | 608923.9035 | 621102.3816 | 633524.4292 | 646194.9178 | 659118.8162 | 672301.1925 | 685747.2163 | 699462.1607 | 713451.4039 | 727720.432 | 742274.8406 | 757120.3374 | 772262.7442 | 787707.999 | 803462.159 | 819531.4022 | 835922.0302 | 852640.4708 | 869693.2803 | 82191.7808
Changes in receivables | 0 | -540707.0003 | -10814.14 | -11030.4228 | -11251.0313 | -11476.0519 | -11705.5729 | -11939.6844 | -12178.4781 | -12422.0476 | -12670.4886 | -12923.8984 | -13182.3763 | -13446.0238 | -13714.9443 | -13989.2432 | -14269.0281 | -14554.4086 | -14845.4968 | -15142.4067 | -15445.2549 | -15754.16 | -16069.2432 | -16390.628 | -16718.4406 | -17052.8094 | 787501.4994
Inventory | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Changes in inventory | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Accounts payables | 0 | 226027.3973 | 230547.9452 | 235158.9041 | 239862.0822 | 244659.3238 | 249552.5103 | 254543.5605 | 259634.4317 | 264827.1204 | 270123.6628 | 275526.136 | 281036.6587 | 286657.3919 | 292390.5398 | 298238.3506 | 304203.1176 | 310287.1799 | 316492.9235 | 322822.782 | 329279.2376 | 335864.8224 | 342582.1188 | 349433.7612 | 356422.4364 | 363550.8852 | 205479.4521
Changes in payables | 0 | 226027.3973 | 4520.5479 | 4610.9589 | 4703.1781 | 4797.2416 | 4893.1865 | 4991.0502 | 5090.8712 | 5192.6886 | 5296.5424 | 5402.4733 | 5510.5227 | 5620.7332 | 5733.1478 | 5847.8108 | 5964.767 | 6084.0624 | 6205.7436 | 6329.8585 | 6456.4556 | 6585.5848 | 6717.2964 | 6851.6424 | 6988.6752 | 7128.4487 | -158071.4331
Investments / Divestures | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
(Increase) / Decrease in Investments | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Changes in Working Capital | 0 | -314679.603 | -6293.5921 | -6419.4639 | -6547.8532 | -6678.8102 | -6812.3864 | -6948.6342 | -7087.6069 | -7229.359 | -7373.9462 | -7521.4251 | -7671.8536 | -7825.2907 | -7981.7965 | -8141.4324 | -8304.2611 | -8470.3463 | -8639.7532 | -8812.5483 | -8988.7992 | -9168.5752 | -9351.9467 | -9538.9857 | -9729.7654 | -9924.3607 | 629430.0663
Cash Flow From Operations | 1272800 | 3439074.7907 | 3797232.6255 | 3806295.8807 | 3816371.9636 | 3827481.1309 | 3839644.0442 | 3852881.7784 | 3867215.83 | 3882668.1253 | 3899261.0291 | 3917017.3537 | 3977538.5007 | 3593790.0708 | 3211276.2722 | 3275501.7976 | 3341011.8336 | 3407832.0702 | 3475988.7117 | 3545508.4859 | 3616418.6556 | 3688747.0287 | 3762521.9693 | 3837772.4087 | 3914527.8568 | 3992818.414 | -870569.9337
Cash available to Distribution to Funding Sources
Interest Expense | 0 | -1069152 | -1069152 | -950357.3333 | -831562.6667 | -712768 | -593973.3333 | -475178.6667 | -356384 | -237589.3333 | -118794.6667 | 3.7253e-11 | 3.7253e-11 | 3.7253e-11 | 3.7253e-11 | 3.7253e-11 | 3.7253e-11 | 3.7253e-11 | 3.7253e-11 | 3.7253e-11 | 3.7253e-11 | 3.7253e-11 | 3.7253e-11 | 3.7253e-11 | 3.7253e-11 | 3.7253e-11 | 0
Amortization on Long Term Debt | 0 | 0 | -2969866.6667 | -2969866.6667 | -2969866.6667 | -2969866.6667 | -2969866.6667 | -2969866.6667 | -2969866.6667 | -2969866.6667 | -2969866.6667 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DSCR | 0 | -2369922.7907 | 17788.3907 | 71276.8 | 71276.8 | 71276.8 | 71276.8 | 71276.8 | 71276.8 | 71276.8 | 1853196.8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Dividend Pay Out | 0 | 0 | 0 | -169896.7958 | -285082.2101 | -401181.4351 | -518212.747 | -636194.7876 | -755146.5713 | -875087.4932 | -996037.3358 | -1118016.2777 | -1241044.9009 | -1295649.3189 | -2095933.8253 | -2897332.2618 | -2955278.907 | -3014384.4852 | -3074672.1749 | -3136165.6184 | -3198888.9307 | -3262866.7094 | -3328124.0435 | -3394686.5244 | -3462580.2549 | -3531831.86 | -7713333.5538
Increase / Decrease in Equity | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Changes in capital due to financing obligations | 0 | -3439074.7907 | -4021230.276 | -4018843.9958 | -4015234.7435 | -4012539.3018 | -4010775.947 | -4009963.3209 | -4010120.438 | -4011266.6932 | -2231501.8692 | -1118016.2777 | -1241044.9009 | -1295649.3189 | -2095933.8253 | -2897332.2618 | -2955278.907 | -3014384.4852 | -3074672.1749 | -3136165.6184 | -3198888.9307 | -3262866.7094 | -3328124.0435 | -3394686.5244 | -3462580.2549 | -3531831.86 | -7713333.5538
Total Cash Flow for the Period | 1272800 | 0 | -223997.6504 | -212548.1151 | -198862.7798 | -185058.1709 | -171131.9028 | -157081.5425 | -142904.608 | -128598.5679 | 1667759.1599 | 2799001.0759 | 2736493.5999 | 2298140.7518 | 1115342.4469 | 378169.5358 | 385732.9265 | 393447.5851 | 401316.5368 | 409342.8675 | 417529.7249 | 425880.3194 | 434397.9257 | 443085.8843 | 451947.6019 | 460986.554 | -8583903.4875
Begining Balance Cash | 0 | 1272800 | 1272800 | 1048802.3496 | 836254.2344 | 637391.4546 | 452333.2837 | 281201.3809 | 124119.8384 | -18784.7696 | -147383.3375 | 1520375.8224 | 4319376.8983 | 7055870.4982 | 9354011.25 | 10469353.6969 | 10847523.2327 | 11233256.1593 | 11626703.7443 | 12028020.2811 | 12437363.1486 | 12854892.8735 | 13280773.1928 | 13715171.1186 | 14158257.0028 | 14610204.6048 | 15071191.1587
Ending Balance Cash | 1272800 | 1272800 | 1048802.3496 | 836254.2344 | 637391.4546 | 452333.2837 | 281201.3809 | 124119.8384 | -18784.7696 | -147383.3375 | 1520375.8224 | 4319376.8983 | 7055870.4982 | 9354011.25 | 10469353.6969 | 10847523.2327 | 11233256.1593 | 11626703.7443 | 12028020.2811 | 12437363.1486 | 12854892.8735 | 13280773.1928 | 13715171.1186 | 14158257.0028 | 14610204.6048 | 15071191.1587 | 6487287.6712
Investor Free Cash Flow | -6364000 | 0 | 125102.1543 | 464895.746 | 695266.5746 | 927465.0246 | 1161527.6484 | 1397491.7295 | 1635395.297 | 1875277.1407 | 2117176.826 | 2361134.7098 | 2607191.9561 | 2716400.7922 | 4316969.8049 | 6136957.5796 | 6581215.1931 | 7034357.9588 | 7496563.5799 | 7968013.3134 | 8448892.0415 | 8939388.3442 | 9439694.573 | 9950006.9264 | 10470525.5268 | 11001454.4992 | 15653867.1077

## Ratios
Ratios
Year | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26
Coverage ratios
Debt / EBITDA | 0 | 6.9813 | 6.084 | 5.2191 | 4.3858 | 3.5832 | 2.8103 | 2.0664 | 1.3506 | 0.66206 | -2.0354e-16 | -1.9955e-16 | -1.9564e-16 | -1.918e-16 | -1.8804e-16 | -1.8436e-16 | -1.8074e-16 | -1.772e-16 | -1.7372e-16 | -1.7032e-16 | -1.6698e-16 | -1.637e-16 | -1.6049e-16 | -1.5735e-16 | -1.5426e-16 | -1.5124e-16 | 0
FCF / Interest | 0 | 0 | -0.20951 | -0.22365 | -0.23914 | -0.25963 | -0.28811 | -0.33057 | -0.40098 | -0.54126 | 14.039 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
FCF / (Interest+Principal) | 0 | 0 | -0.055458 | -0.054218 | -0.052313 | -0.050252 | -0.048019 | -0.045596 | -0.042963 | -0.040094 | 0.53996 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Debt / Total Equity | 0 | 4.2 | 3.7333 | 3.2667 | 2.8 | 2.3333 | 1.8667 | 1.4 | 0.93333 | 0.46667 | -1.4634e-16 | -1.4634e-16 | -1.4634e-16 | -1.4634e-16 | -1.4634e-16 | -1.4634e-16 | -1.4634e-16 | -1.4634e-16 | -1.4634e-16 | -1.4634e-16 | -1.4634e-16 | -1.4634e-16 | -1.4634e-16 | -1.4634e-16 | -1.4634e-16 | -1.4634e-16 | -1.4634e-16
DSCR | 0 | 3.581 | 0.96686 | 1.0161 | 1.0688 | 1.1253 | 1.1861 | 1.2515 | 1.3222 | 1.3986 | 1.4814 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Liquidity ratios
Current Assets / Current Liabilities | 0 | 18.5085 | 17.1438 | 15.6476 | 14.2614 | 12.981 | 11.802 | 10.7203 | 9.143 | 6.0326 | 8.0207 | 18.0691 | 27.4988 | 35.0235 | 38.1983 | 38.7642 | 39.319 | 39.863 | 40.3963 | 40.9191 | 41.4317 | 41.9342 | 42.4269 | 42.9099 | 43.3835 | 43.8477 | 31.9715
Profitability ratios
Operating Income / Sales | 0 | 58.2% | 58.2% | 58.2% | 58.2% | 58.2% | 58.2% | 58.2% | 58.2% | 58.2% | 58.2% | 58.2% | 58.2% | 58.2% | 58.2% | 58.2% | 58.2% | 58.2% | 58.2% | 58.2% | 58.2% | 58.2% | 58.2% | 58.2% | 58.2% | 58.2% | -150%
Net Income / Sales | 0 | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%

## Results
Results
Year | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26
Dividends | 0 | 0 | 0 | 169896.7958 | 285082.2101 | 401181.4351 | 518212.747 | 636194.7876 | 755146.5713 | 875087.4932 | 996037.3358 | 1118016.2777 | 1241044.9009 | 1295649.3189 | 2095933.8253 | 2897332.2618 | 2955278.907 | 3014384.4852 | 3074672.1749 | 3136165.6184 | 3198888.9307 | 3262866.7094 | 3328124.0435 | 3394686.5244 | 3462580.2549 | 3531831.86 | 7713333.5538
Dividends (discounted) | 0 | 0 | 0 | 134869.5542 | 209543.935 | 273037.3437 | 326561.9335 | 371213.5481 | 407982.1957 | 437761.6146 | 461358.0078 | 479498.018 | 492836.0052 | 476407.5657 | 713583.8128 | 913359.9621 | 862617.7419 | 814694.5341 | 769433.7266 | 726687.4085 | 686315.8858 | 648187.2255 | 612176.824 | 578167.0005 | 546046.6116 | 515710.6887 | 1042856.3013
Cash Flow From Operations | 1272800 | 3439074.7907 | 3797232.6255 | 3806295.8807 | 3816371.9636 | 3827481.1309 | 3839644.0442 | 3852881.7784 | 3867215.83 | 3882668.1253 | 3899261.0291 | 3917017.3537 | 3977538.5007 | 3593790.0708 | 3211276.2722 | 3275501.7976 | 3341011.8336 | 3407832.0702 | 3475988.7117 | 3545508.4859 | 3616418.6556 | 3688747.0287 | 3762521.9693 | 3837772.4087 | 3914527.8568 | 3992818.414 | -870569.9337
Cash Flow From Operations (discounted) | 1272800 | 3184328.5099 | 3255514.9396 | 3021560.389 | 2805147.3227 | 2604919.3447 | 2419627.0547 | 2248119.5118 | 2089336.3826 | 1942300.7194 | 1806112.317 | 1679941.6027 | 1579535.2642 | 1321429.1507 | 1093314.4637 | 1032574.7713 | 975209.5062 | 921031.2003 | 869862.8003 | 821537.0892 | 775896.1398 | 732790.7987 | 692080.1988 | 653631.2988 | 617318.4489 | 583022.9795 | -117702.5905
Project IRR |  | -89.19% | -59.63% | -38.36% | -24.51% | -15.31% | -8.958% | -4.429% | -1.1% | 1.406% | 3.334% | 4.843% | 6.053% | 6.934% | 7.583% | 8.136% | 8.608% | 9.014% | 9.363% | 9.664% | 9.926% | 10.15% | 10.35% | 10.53% | 10.68% | 10.81% | 10.79%
Project NPV | -31820000 | -28635671.4901 | -25380156.5505 | -22358596.1615 | -19553448.8389 | -16948529.4942 | -14528902.4395 | -12280782.9277 | -10191446.5451 | -8249145.8258 | -6443033.5087 | -4763091.906 | -3183556.6418 | -1862127.4911 | -768813.0274 | 263761.7439 | 1238971.2502 | 2160002.4505 | 3029865.2508 | 3851402.34 | 4627298.4798 | 5360089.2784 | 6052169.4772 | 6705800.776 | 7323119.2249 | 7906142.2044 | 7788439.6139
Investor IRR |  |  |  | -70.11% | -50.95% | -36.64% | -26.07% | -18.19% | -12.23% | -7.639% | -4.053% | -1.21% | 1.073% | 2.844% | 4.913% | 6.88% | 8.293% | 9.359% | 10.19% | 10.85% | 11.39% | 11.83% | 12.19% | 12.49% | 12.75% | 12.96% | 13.35%
Investor NPV | -6364000 | -6364000 | -6364000 | -6229130.4458 | -6019586.5109 | -5746549.1672 | -5419987.2337 | -5048773.6856 | -4640791.4899 | -4203029.8753 | -3741671.8675 | -3262173.8495 | -2769337.8442 | -2292930.2786 | -1579346.4658 | -665986.5037 | 196631.2382 | 1011325.7723 | 1780759.4989 | 2507446.9074 | 3193762.7932 | 3841950.0186 | 4454126.8427 | 5032293.8431 | 5578340.4547 | 6094051.1434 | 7136907.4447
Results Project Lifetime
Discount rate | 8%
Project IRR | 10.79%
Project NPV | 7788439.6139
Project Payback (years) | 9.4053
Investor IRR | 13.35%
Investor NPV | 7136907.4447
Investor Payback (years) | 12.4908
LCOE P50 (€/MWh) | 70.8095
LCOE P90 (€/MWh) | 76.8927